|  |  |
| --- | --- |
| **Contracting Authority:**  Fyzikální ústav AV ČR, v.v.i.  Na Slovance 2, 182 21 Praha 8  IČO 68378271 | **Authorized Representative:**  HOLEC, ZUSKA & Partners  Palác Anděl, Radlická 1C/3185  150 00 Praha 5 |
| **Additional information No. 1**  issued by the Contracting Authority in relation to the tender documentation pursuant to Sec 49 of Act No. 137/2006 Coll., on Public Contracts, as amended | |

In Prague 24. 11. 2014

Above-the-threshold public contract administered in the form of open procedure with the name “**TP14\_034 Small Aperture Optical and Optomechanical components***”.* Additional information, including the exact wording of the original query, will be sent to all Suppliers who have required for the supply of tender documentation or that have been supplied with such tender documentation. The additional information shall be published on the Contracting Authority´s profile **(http://www.e-zakazky.cz/Profil-Zadavatele/74e987e1-b4a1-4571-b8b6-2cd93fe6f932).**

**Inquiry No. 1**

1. I would like to ask whether the contracting authority of this tender admits variants of the solution?
2. *Top and bottom surface plates should be 5mm or over 4.5mm while ours is 4mm. The difference(4mm and 5mm) can be distinguished by naked eyes, so I'm wondering if our spec (4mm thick) is acceptable.*
3. There are other differences(such as top flatness, permitted load, aluminum profile specs...), but actually we think these are not very important.

**Reply of the Contracting Authority to Inquiry No. 2:**

**Ad 1)**

The Contracting Authority provides the following explanation to query ad 1):

No. Please see the section 28 point 28.1 of tender documentation “The Contracting Authority will not admit any bid variants”.

**Ad 2) + Ad 3)**

The Contracting Authority provides the following explanation to query ad 2) and ad 3):

Contracting authority after an assessment of the receiving questions, insists on it, that the technical conditions are standard and therefore they can be fulfill by more potential suppliers.

In case that contracting authority would decide to correct technical conditions by any way the contracting authority will inform the potential suppliers by additional information.



\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**AK HOLEC, ZUSKA & Partners**

Lubomir Lansky