Annex No. 2

Technical Specification

The Equipment consist of 64 identical power supply units. Each unit must meet the technical conditions listed in this table.

| No. | Description and minimum specification of the Equipment as defined by the Contracting Authority | Description and specification of the Equipment offered by the Bidder | Complies YES/NO |
| --- | --- | --- | --- |
| 1 | Programmable PSU |  |  |
| 2 | Single-phase input voltage: 230 VAC |  |  |
| 3 | Output voltage: 0-300 VDC |  |  |
| 4 | Output current: 0-9 A |  |  |
| 5 | Power: max. 2700 W |  |  |
| 6 | Frame: 19" Rack - 1U |  |  |
| 7 | Control and monitoring via LAN / USB / RS232 / RS485 & Analog |  |  |
| 8 | Isolated signal converter 0-5V / 0-10V |  |  |
| 9 | Compatibility with CERN-customized LabVIEW controlling SW |  |  |

(Bidder shall fill in the columns “Description and specification of the Equipment offered by the Bidder” and “Complies YES / NO”)