# Annex No. 1 to the Invitation to the tender

# Annex No. 1 to the Contract

# Technical Specification of the Supply

# Technical parameters table of fog and cloud droplet monitor

| Parameter | Required value | Offered value to be delivered |
| --- | --- | --- |
| Mode of operation | Long-term, continuous Remote control possible Remote access to data |  |
| Sampling head | With heating |  |
| Particle size range | 0.6 – 40 µm |  |
| Number of size bins | min. 30 |  |
| Range of particle number concentration | 0 – 1000 # / cm3 |  |
| Power consumption | max. 600 W |  |
| Ambient temperature during operation | -30 ºC - +50ºC |  |
| Weight | max. 40 kg |  |
| Output data | Particle size distribution Particle number concentration Median volume diameter Effective diameter Liquid water content |  |
| Output data rate | Selectable |  |