The subject of the purchase is described in Section 2.2 of the Invitation to submit bids. It must meet the conditions and include components listed in this table.

| No. | Description and minimum specification of the subject of the purchase as defined by the Contracting Authority | Description and specification of the subject of the purchase offered by the bidder | Complies YES/NO |
| --- | --- | --- | --- |
| A | Controller |  |  |
| 1 | capable of controlling the Bruker Dimension ICON AFM |  |  |
| 2 | compatible with the latest version of NanoScope software 10.x, which is utilized for working with an AFM |  |  |
| 3 | compatible and capable of working in ScanAsyst mode |  |  |
| 4 | at least 2 digital inputs and 2 digital outputs |  |  |
| 5 | must be able to collect data from at least 8 data channels simultaneously |  |  |
| 6 | must contain at least 12 programmable BNC inputs/outputs |  |  |
| 7 | must be able to collect data with a resolution of at least 5k x 5k pixels |  |  |
| 8 | must allow to modulate the frequency of PeakForce Tapping scans over a range of at least 122 Hz to 2 kHz |  |  |
| 9 | at least three digital lock-in amplifiers, of which at least two are high-speed (at least 2x 0.01 kHz to 10 MHz) |  |  |
| B | SW features |  |  |
| 10 | Scripting option for Bruker Dimension ICON AFM |  |  |
| 11 | Advanced Spectroscopy “DataCube” option for conductive AFM |  |  |

(Bidders shall fill in the columns “Description and specification of the subject of the purchase offered by the bidder” and “Complies YES / NO”.)