The subject of the purchase is spare parts package for the Ceilometer Lufft CHM 15k described in Section 2.2 of the Invitation to submit bids. It must include components listed in this table in the respective quantities.

| Quantity | Spare part code | Description of spare part | YES/NO |
| --- | --- | --- | --- |
| 2 | 8350.MCU | CHM Main Controller incl. processor board & SD Card |  |
| 2 | 8350.LOMn | Laser optic module (LOM unit) |  |
| 2 | 41.75505 | Case for LOM |  |
| 2 | 41.75506 | Alu-outer case for Case LOM, oversea shipment |  |
| 2 | 41.75504-10 | Temp. sensor LOM to REF_LED new |  |
| 2 | 41.94840 | G-fuse T 2 A (10 pcs) |  |
| 2 | 41.94843 | G-fuse T 3.15 A (10 pcs) |  |
| 2 | 41.11000-5 | surge arrester: RS 485 |  |
| 2 | 41.80453-10 | Temperature sensor inside/ outside |  |
| 2 | 8350.DESIC | Container Dri (10 pcs) |  |
| 2 | 8350.SDC | Industrial SD Card 16 GB |  |
| 2 | 41.14635-14 | Cable_Sensor-Signal-CHM_main |  |

(Bidders shall fill in the column “YES / NO”.)