| Project Name: | Výstavba plynových motorů v Teplárně Komořany |
| --- | --- |
| Order Nummer: P. O. number |  |
| Ex. work |  |
| Order Delivery Specification No: |  |
| Date for delivery of final Dossier of Manufacturing and Test Records |  |

| No | Activity | Inspection procedure | Verifying record |
| --- | --- | --- | --- |
| 1 | Check of performed rotor balancing and overspeed test |  |  |
| 1.1 | Check of performed workshop Functional test |  |  |
| 2 | Check of performed mechanical running test, including Borecsope inspection |  |  |
| 3 | Check of manufacturing list, all positions are performed and signed. |  |  |
| 4 | Check of product correspondence to drawings and that all notes are performed. |  |  |
| 5 | Check that dimensional- and manufacturing records are signed. |  |  |
| 6 | Check markings including Core engine number and KKS:s are applied on mechanical and electrical equipment according to specifications. |  |  |
| 7 | Check exposed surfaces are protected, such as holes and machined surfaces. |  |  |
| 8 | Check cable fastenings (loose cables are fastened) and placement on the unit. |  |  |
| 9 | Check condition and tightness of hoses, pipes and other mechanical equipment. |  |  |
| 10 | Check junction boxes. |  |  |
| 11 | Check the amount and correctness of amplifiers. |  |  |
| 12 | Check earth connections. |  |  |
| 13 | Check cable routs and cable tension. |  |  |
| 14 | Check packing and preservation condition. No parts outside jig/ frame. |  |  |
| 15 | Check loose material. |  |  |
| 16 | Check cable glands and other electrical equipment. |  |  |
| 17 | Check answers on Non conformities and Fault reports. |  |  |
| 18 | Check Modification notice. |  |  |
| 19 | Cleanness checking including surface treatment, painting and finish |  |  |
| 20 | Miscellaneous |  |  |
| 21 | Secure for transportation/ Lifting instruction available |  |  |
| 22 | Protection for in- and outlets |  |  |

The pictures below are included as idea/ information and help to perform the check as in check list above.

| Punkt/ Item | Kommentarer/ Comments | Bild/ picture |
| --- | --- | --- |
| 3-5 | Manufacturing list |  |
| 6 | Id. No and KKS |  |
| 7 | Finish check |  |
| 8 | Cables |  |
| 9 | general check of pipes and hoses. |  |
| 10 | Junction boxes |  |
| 11 | Amplifiers |  |
| 12 | Earth connection |  |
| 13 | Cable tension |  |
| 14 | Packing and preservation |  |
| 15 | Loose material |  |
| 16 | Cable glands |  |
| 19 | surface treatment |  |
| 21 | Secure for transportation |  |
| 22 | Inlet and outlet protection |  |