supplement 6

training

Tender participants need to provide the following Supplement 6 – Training as part of File D6 of their Indicative Tenders / Tenders (being a supplement to the Draft Contract for Work) in compliance with the Contracting Authority’s instructions for the contents of File D6 contained in Part 4 of the Procurement Documents.

- The Contractor shall provide training for Purchaser personnel required to operate and maintain the Work; at minimum:

| Position | Number of personnel |
| --- | --- |
| Technologist | 3 |
| Staff Boiler Room Technician (STK) | 6 |
| Staff Electrical Technician (STE) | 8 |
| Desulfurization Operator | 4 |
| Boiler Room Maintenance Technician (PZ_K) | 4 |
| Electromechanical Systems Technician | 14 |
| Measurement and Regulation Technician | 4 |
| Electrical Technician | 3 |
| Technology Maintenance Technician | 10 |
| Staff Engineer (needs to be familiar with wet desulfurization principles and linkages to existing systems) | 6 |

The Contractor shall provide programmer training for all types of information and control systems supplied and orientation training for all related documentation, for a total of 8 trainees.

The Contractor shall provide intelligent systems (configurator) operation and maintenance training for supplied measurement and regulation systems and orientation training for all related documentation, for a total of 8 trainees.

- The Contractor acknowledges that the Purchaser may nominate representatives of third parties who are providing services for the execution of the Work, and / or will provide operation and / or maintenance services once the Work is completed, to participate in any of the above listed courses.

- Purchaser personnel shall be trained to handle all tasks relevant to their job description as it relates to the operation and maintenance of the work; a training protocol shall be signed to that effect.

- Group courses shall be organized so as to cover the full scope of the technology employed that is relevant to attendees’ activities in relation to the Work. Staff employees work shifts and therefore shall be trained in groups of on-shift colleagues.

- Course groups shall not be larger than 10 trainees, and courses shall take up no more than 8 hours per day, including necessary breaks.

- All training costs shall be included in the Contract Price. Training shall take place preferentially at United Energy, a.s. premises and courses shall be held in Czech; if interpreting is required, the Contractor shall engage interpreters with adequate background in technical language.

- In the event that, due to technology and equipment supply considerations, Purchaser personnel are trained off-site, the Contractor shall bear all costs relating thereto. The Purchaser shall cover personnel travel and room (if any) and board expenses, and provide reasonable discretionary funds.

- The Contractor shall ensure training is completed no later than 14 Days before the start of Commissioning (preparation for Complex Tests).

- The Contractor shall provide trainees with all relevant study materials, in the Czech language, no later than 30 Days before the start of training. For operator training, system operation and maintenance rules and operator manuals shall be made available in sufficient advance.

- Furthermore, in the interest of ensuring preparedness for the future operation and maintenance of the Work, selected Purchaser personnel shall have opportunity (with prior notice to the Contractor) to be present during Contractor works on assembly and Commissioning, with no further compensation being due to the Contractor in relation thereto.