PROCUREMENT DOCUMENTS for Public Contract Ref.no. Z2018-033521

Environmental Improvements on TKY II Heating Plant – Wet Desulfurization

part 3 technical requirements

The Contracting Authority for this Public Contract (industry public contract) “Environmental Improvements on TKY II Heating Plant – Wet Desulfurization”, United Energy, a.s., has specified the following technical requirements for all Contractors / Participants in the procurement process.

The Contracting Authority has set out its technical conditions in Supplement 1 to the Draft Contract for Work, “Purchaser’s Technical Requirements on the Work”, which is included in Part 2 of the Procurement Documents.

Pursuant to Section 61, Subs. 4 of Czech Republic Law no. 134/2016, as currently in effect, the Contracting Authority has set the minimum technical conditions for this Public Contract as:

Desulfurization solution must be capable of meeting emission limits of SO2 ≤ 100 mg/Nm3 R and TZL  ≤ 7  mg/Nm3 R.