# Annex No. 6 to the invitation to the tender

# Annex No. 2 to the Contract

# Technical Specification of the Supply

# Technical parameters table of wind profiler based on laser measurements

| Parameter | Required value | The offered value to be delivered |
| --- | --- | --- |
| Mode of operation | Fully automated Built in quality control Automatic system monitoring Transportable Integrated control system |  |
| Working wind speed | up to 25 m/s |  |
| Wind gusts | up to 40 m/s |  |
| Working relative humidity | 10 % to 100 % |  |
| Range of measuring heights | 100 m (or lower) up to minimum 2000 m at good atmospheric conditions |  |
| Built in memory | 32 GB |  |
| Working temperature | -30 ºC - 40ºC |  |
| Weight | 100 kg max |  |
| Number of measuring heights and resolution | Adjustable, minimum resolution is 30 m |  |
| Range of measured wind speed | 0 to 50 m/s |  |
| Accuracy | 0.2 m/s below 10 m/s and 2.5 % for wind speeds larger than 10 m/s |  |
| Range of wind direction | from 0 to 360 °, with accuracy not exceeding 5 for wind speed larger than 5 m/s |  |
| Averaging time wind profile | Adjustable from 2 s |  |