The subject of the purchase is a replacement kit for calibration of a Sun Sky Lunar Photometer CE318-TS9 described in Section 2.2 of the Invitation to submit bids. It must include components listed in this table.

| Quantity | Description of spare part | YES/NO |
| --- | --- | --- |
| 1 | sensor head CE318-TS9 with 9 standard filters (340, 380, 440, 500, 675, 870, 937, 1020, 1640 nm) |  |
| 1 | optical protection cap for the sensor head |  |
| 1 | double collimator |  |
| 1 | cord for sensor head CE318-T |  |
| 1 | control unit CE318-T |  |

(Bidders shall fill in the column “YES / NO”.)