## Part 1 - valves and fittings
Description | Required Quantity | Maximum delivery time (working days) | CZK | total price CZK
Stainless Steel Connectors tube fitting
Male Connector, 1/4" tube OD Slok to 1/4" Male ISO parallel Thread, Straight shoulder | 10 | 10 |  | 0
Male Connector, 1/2" tube OD Slok to 1/2" Male ISO parallel Thread, Straight shoulder | 12 | 10 |  | 0
Male Connector, 1/2" Tube OD Slok to 3/8" Male ISO Parallel Thread, Straight Shoulder | 12 | 10 |  | 0
Female Connector, 1/2" Tube OD Slok to 1/2" Female ISO Tapered Thread | 12 | 10 |  | 0
Male Connector, 3/8" Tube OD Slok to 1/4" Male ISO Tapered Thread | 20 | 10 |  | 0
Male Connector, 3/8" Tube OD Slok to 3/8" Male ISO Parallel Thread, Straight Shoulder | 8 | 10 |  | 0
Stainless Steel Gasket for 1/4 in. ISO Parallel Thread (RS) Fitting, Fluorocarbon FKM Inner Ring | 40 | 10 |  | 0
Stainless Steel Gasket for 3/8 in. ISO Parallel Thread (RS) Fitting, Fluorocarbon FKM Inner Ring | 40 | 10 |  | 0
Stainless Steel Gasket for 1/2 in. ISO Parallel Thread (RS) Fitting, Fluorocarbon FKM Inner Ring | 40 | 10 |  | 0
0
Flexible hoses
PTFE-Lined, Stainless Steel Braided Hose Assembly, with 3/8" Stainless Steel Slok Tube Adapters, 22" length* | 30 | 10 |  | 0
PTFE-Lined, Stainless Steel Braided Hose Assembly, with 1/2" Stainless Steel Slok Tube Adapters, 22" Length* | 10 | 10 |  | 0
0
Stainless Steel Valves
Needle Vave, Regulating Stem, 3/8" Slok, Black Handle | 30 | 10 |  | 0
Needle Vave, Regulating Stem, 1/2" Slok, Black Handle | 20 | 10 |  | 0
Ball Valve, 3/8" Slok, Black Handle | 30 | 10 |  | 0
Ball Valve, 1/2" Slok, Black Handle | 20 | 10 |  | 0
Stainless Steel Poppet Check Valve, Fixed Pressure, 1/2 in. Slok Tube Fitting, 1/3 psig (0.03 bar) | 8 | 15 |  | 0
Stainless Steel Poppet Check Valve, Fixed Pressure, 1" tube Slok Fitting, 1/3 psig (0.03 bar) cracking pressure | 8 | 15 |  | 0
Stainless Steel 3-Piece 60 Series Ball Valve, Reinforced PTFE Seats, 1 in. Swagelok Tube Fitting | 4 | 15 |  | 0
0
SGauges
Miniture Pressure Gauge 50-70 mm diameter, main scale in bar, secondary scale in psi, range -1 +3 Bar, 1/4" Slok Center-Back Mount | 5 | 20 |  | 0
Miniture Pressure Gauge50-70 mm diameter, main scale in bar, secondary scale in psi, range 0-10 Bar, 1/4" Slok Center-Back Mount | 10 | 20 |  | 0
0
Stainless Steel Adaptors
Tube Adapter 1/4" Slok to 1/4" female ISO parallel thread | 10 | 10 |  | 0
Tube Adapter 1/4" Slok to 1/4" male ISO parallel thread | 10 | 10 |  | 0
Tube Adapter 3/8" Slok to 3/8" female ISO parallel thread | 10 | 10 |  | 0
Tube Adapter 3/8" Slok to 3/8" male ISO parallel thread | 10 | 10 |  | 0
0
Stainless Steel Unions
Tee Union 1/4" Slok (Tube Fitting) | 30 | 10 |  | 0
Cross Union 1/4" Slok (Tube Fitting) | 3 | 10 |  | 0
Union , Slok 1/4" Tube OD | 40 | 10 |  | 0
Elbow, Slok 1/4" Tube OD | 20 | 10 |  | 0
Straight bulkhead union, Slok 1/4" Tube OD | 20 | 15 |  | 0
Tee Union 3/8" Slok (Tube Fitting) | 80 | 10 |  | 0
Straight bulkhead union, Slok 3/8" Tube OD | 20 | 15 |  | 0
Union, Slok 3/8" Tube OD | 30 | 10 |  | 0
Elbow, Slok 3/8" Tube OD | 20 | 15 |  | 0
Elbow, 3/8" Slok - 3/8" tube adaptor | 20 | 10 |  | 0
Reducing Tee Union, 2x 1/2" Slok - 3/8" Slok | 30 | 10 |  | 0
Union, Slok for 1/2'' Tube OD | 20 | 10 |  | 0
Elbow, Slok 1/2" Tube OD | 6 | 10 |  | 0
Tee Union 1/2" Slok (Tube Fitting) | 40 | 10 |  | 0
Reducer, 1" TA - 1/2" Slok | 16 | 10 |  | 0
Union, Slok 1" Tube OD | 10 | 10 |  | 0
Tee Union 1" Slok (Tube Fitting) | 12 | 10 |  | 0
Union Elbow, 1 in. Tube OD | 32 | 10 |  | 0
Reducing Tee Union 2x 1" Slok - 3/8" Slok (Tube Fitting) | 10 | 10 |  | 0
Reducing Union, 1 in. x 1/2 in. Tube OD | 6 | 10 |  | 0
0
Stainless Steel Port connectors
Port Connector 1/4" | 30 | 10 |  | 0
Port Connector 3/8" | 50 | 10 |  | 0
Port Connector 1/2" | 30 | 10 |  | 0
Port Connector 1" | 12 | 10 |  | 0
0
Stainless Steel Plugs
Plug 1/4" Slok (Tube Fitting) | 6 | 10 |  | 0
Plug 3/8" Slok (Tube Fitting) | 42 | 10 |  | 0
Plug 1/2" Slok (Tube Fitting) | 20 | 10 |  | 0
Plug 1/2" Slok - with Lanyard (Tube Fitting) | 10 | 10 |  | 0
Plug 1" Slok (Tube Fitting) | 12 | 10 |  | 0
0
Tools
Hand Tube Bender for 1/4" Tube OD, Bend Radius less than 0.6" | 1 | 10 |  | 0
Hand Tube Bender for 3/8" Tube OD, Bend Radius less than 1" | 1 | 10 |  | 0
Tube Cutter For Tubes 6-35 mm | 1 | 10 |  | 0
0
Services
Safety and installation training for 8 ELI technicians , which must include practical onsite training in proper tube selection, cuting and deburring and proper use of supplied compression fitting assemlies, as wel as correct tube bending and use of bending tools and cover safety aspects of the compressed air and water installations, minimum duration 1 day | 1 | 20 |  | 0
Rental of Bench top Tube bender for tube OD 1/2" and OD 1" (price per day) | 10 | 5 |  | 0
Rental of hydrolic swaging units for tube OD 1" (price per day) | 10 | 5 |  | 0
Enginnering support, technical consultancy on compressed air low conductivity water systems (price per hour) | 20 | 1 |  | 0
0
Celková cena/ total price |  |  |  | 0
General requirements:
Connections marked as Slok mean stainless steel compression fitting like Swagelock or equivalent
All parts (except Tools) must be manufactured from stainless steel
All parts (except Tools) must be supplied with free downlodable 3D CAD models in STEP format or formant compatible with Autodesk Inventor.
* Length of ofered flexible hoses can differ by up to +/- 20% from specified

## Part2 - tubing
Description | Required Quantity | Maximum delivery time (working days) | unit price CZK | total price v CZK
Stainless steel seamless Tubing 1/4" x 0.035" (6m length tubes) - price per meter | 132 | 5 |  | 0
Stainless steel seamless Tubing 3/8" x 0.049" (6m length tubes) - price per meter | 132 | 5 |  | 0
Stainless steel seamless Tubing 1/2" x 0.049" (6m length tubes) - price per meter | 180 | 5 |  | 0
Stainless steel seamless Tubing 1" x 0.083" (6m length tubes) - price per meter | 66 | 5 |  | 0
Celkova cena v CZK |  |  |  | 0